Ref: Tender advertisement dated on 21.05.2016

Riffa Campus

- SCOPE OF WORKS – A/C

Familiarizing with regard to the type, location of equipment, inspection, Planned Preventive Maintenance Works, Service and repairs of installation of all air- conditioners, water coolers and water pumps at the above campus for smooth functioning of the whole system as stipulated in the approved program for the following equipments / installations:

  - Air Conditioning Installation

| Sr.No. | Brand/Model | Quantity/Nos. |
| --- | --- | --- |
| GROUND FLOOR |
| FCU-GF | YE1LD 24 | 10 |
| CU-GF | YE1SDR 24 | 10 |
| FCU-GF | YEIHD 48 | 2 |
| CU-GF | YE1SDR 48 | 2 |
| FCU-GF | YEIHD 60 | 43 |
| CU-GF | YE1SDR 60 | 43 |
| FCU-GF | YEIHD 70 | 5 |
| CU-GF | YE1SDR 70 | 5 |
| 1ST FLOOR |
| FCU-FF | YE1LD 24 | 8 |
| CU-FF | YE1SDR 24 | 8 |
| FCU-FF | YEIHD 48 | 2 |
| CU-FF | YE1SDR 48 | 2 |
| FCU-FF | YEIHD 60 | 45 |
| CU-FF | YE1SDR 60 | 45 |
| FCU-FF | YEIHD 70 | 4 |
| CU-FF | YE1SDR 70 | 4 |
| 2ND FLOOR |
| FCU-SF | YE1LD 24 | 8 |
| CU-SF | YE1SDR 24 | 8 |
| FCU-SF | YEIHD 48 | 2 |
| CU-SF | YE1SDR 48 | 2 |
| FCU-SF | YEIHD 60 | 48 |
| CU-SF | YE1SDR 60 | 48 |
| FCU-SF | YEIHD 70 | 2 |
| CU-SF | YE1SDR 70 | 2 |

- Portacabin-4Nos. 2.5 Split AC units.

- Power house-2Nos. 2.5 TR Split AC Units.

- Security Cabins-2Nos. 2.5 TR Split AC Units.

The whole system includes Ducts, Thermostats, Grills, and Control Panels etc.

The Contractor shall verify at site and update the above list, as necessary and also prepare and submit on award of the Contract as built drawings of above-mentioned existing installations, in hard copy as well as floppy diskettes.

V R Palaniswamy

Principal